LESSON THREE: MECHANICAL EQUIPMENT AND MECHANICAL CODES

INTRODUCTION:

Q1:	What elements make up an HVAC system?

Q2:	What role does the plant play in an HVAC system?

Q3:	What is the function of the distribution system?

Q4:	What are the different areas of a building referred to as?

BOILERS & CHILLERS:

Q1:	What parts made up plants in earlier years?

Q2:	What is external combustion air?

Q3:	What is a forced air furnace and how does it operate?

Q4:	What is a gravity feed?

Q5:	What were the disadvantages of a gravity feed when it was used?

Q6:	What modification was made to the gravity feed system to make it more efficient?

Q7:	What is a downdraft furnace?

Q8:	What is a lowboy?

REFRIGERATION CYCLE:

Q1:	What do modern air conditioners rely on to function?

Q2:	What is Freon and how is it used?

Q3:	What is the condenser and what is its purpose?

Q4:	What is the evaporator and what is its purpose?

Q5:	What is an expansion valve?

Q6:	What are the evaporators and condensers?

Q7:	What is an evaporative chiller?

Q8:	What is a cooling tower?

Q9:	What is a blowdown?

Q10:	What happens on the evaporator side of a cycle?

Q11:	What can be done during cool seasons or cooler climates?

Q12:	What seasonal adjustments are called economizer cycles?

HEAT PUMP:

Q1:	What occurs in the refrigeration cycle?

Q2:	What is the level of efficiency of boilers and furnaces?

Q3:	What level of efficiency can be reached using a refrigeration system to heat a building?

Q4:	Why can this process not be referred to as efficiency and what would be a better reference?

Q5:	What is the difference between COP and EOP and how are they determined?

Q6:	What is the common value for COP’s?

Q7:	What occurs if the compressor is placed inside the building?

Q8:	What is the danger of Freon (or and CFC) leaking into the atmosphere?

Q9:	What is being studied as a substitute for CFC’s?

SYSTEM DISTRIBUTION TYPES:

Q1:	What is one difference between distribution systems and plant systems?

Q2:	What are the three basic categories for distribution systems?

ELECTRICAL SYSTEMS:

Q1:	What are the characteristics of an electrical distribution system and where are they located?

Q2:	What are the categories of electrical systems and what do they consist of?

Q3:	What are the advantages and disadvantages of a radiant system?

HYDRONIC SYSTEMS:

Q1:	What is a hydronic system?

Q2:	What are the loop patterns of the system?

Q3:	What are the characteristics of a single pipe loop pattern?

Q4:	What are the characteristics of a two pipe loop pattern?

Q5:	What are the characteristics of a four pipe loop pattern?

A5:

Q6:	What are the characteristics of a three pipe loop pattern?

A6:

FORCED AIR SYSTEMS:

Q1:	How is heat distributed in a forced air system?

A1:

Q2:	What is an air plenum?

A2:

Q3:	What are the characteristics of supply ducts in a system that utilizes air plenums?

A3:

Q4:	Why is a cold air register called by its name?

A4:

Q5:	What kind of air is brought into a plant?

A5:

Q6:	Where should a fresh air intake be located?

A6:

Q7:	 What must be done to outside air?  Return air?

A7:

Q8:	How is the number of air changes determined?

A8:

Q9:	What is the pressure in a duct referred to as?

A9:

Q10:	How do you eliminate infiltration in a building?

A10:

Q11:	What is the deck temperature?

A11:

Q12:	What prevents air moving in a supply duct from warming up before it reaches the room?

A12:

Q13:	How is insulation used in supply ducts?

A13:

Q14:	Where and why must fans be insulated?

A14:

Q15:	How are fans insulated?

A15:

Q16:	What are duct connects made of and why?

A16:

Q17:	What is the simplest forced air system and where are they found?

A17:

Q18:	What is constant volume?

A18:

Q19:	How can the rate of heating be varied from room to room in a structure with central AC?

A19:

Q20:	What causes problems in this type of system?

A20:

Q21:	What is the electric reheat system and what are the characteristics?  Where and why is it used?

A21:

Q22:	What is a dual duct or double duct system and why is it used?

A22:

Q23:	What is a mixing box?

A23:

Q24:	What is the multi-zone system?

A24:

Q25:	Why was the multi-zone system developed

A25:

Q26:	When and why is the multi-zone system efficient?

A26:

Q27:	What is a fan coil system?

A27:

Q28:	What are the advantages and disadvantages of the fan coil system?

A28:

Q29:	What is a variable air volume system?

A29:

Q30:	What determines the amount of heating and/or cooling delivered to a zone?

A30:

Q31:	What occurs to make a zone system run at high efficiency?

A31:

Q32:	What is a unitary system?

A32:

Q33:	When is a unitary system employed?

A33:

Q34:	What is a heat pump system?

A34:

Q35:	What is a heat sink?

A35:

Q36:	What happens if all of the heat pumps are cooling their rooms?

A36:

Q37:	What happens if all of the heat pumps are heating their rooms?

A37:

Q38:	What kind of system does induction apply to?

A38:

Q39:	Name some types of fans and cases when they are used.

A39:

Q40:	What are fibrous filters?

A41:

Q42:	What are the characteristics of electrostatic filters?

A42:

Q43:	 What are the characteristics of activated charcoal filters?

A43:

PLANT AND DUCT SIZING:

Q1:	What two things must architects know when designing a building in relation to the mechanical room & equipment?

A1:

PLANT SIZING:

Q1:	What is the typical floor space needed for mechanical equipment?  How does it vary?

A1:

Q2:	Where are mechanical rooms located in high-rise building?

A2:

Q3:	What is the capacity of the plant dependent on?

A3:

Q4:	How are heating loads expressed?  Cooling loads?

A4:

Q5:	What is a ton of cooling equivalent to and what is the rate of heat transfer?

A5:

SYSTEM SIZING:

Q1:	What system requires the most space?

A1:

Q2:	What are the relationships in a forced air system?

A2:

Q3:	What is the formula to express the relationships in a force air system?

A3:

DUCT SIZING:

Q1:	How is a duct sized?

A1:

Q2:	What are appropriate velocities for ducts?

A2:

Q3:	What kind of ducts and ventilation systems are used in some large office buildings?

A3:

Q4:	How are duct sizes expressed?

A4:

Q5:	Which are the most efficient ducts?  Why?

A5:

Q6:	What is the equivalent circular diameter?

A6:

FAN SIZING:

Q1:	What is another factor that must be taken into consideration when sizing ducts?

A1:

Q2:	How are duct sizes often determined?

A2:

Q3:	How is friction loss expressed?

A3:

Q4:	What is static head?

A4:

Q5:	Normal atmospheric pressure can support how much water?

A5:

ENERGY CODES:

Q1:	What are the two basic types of energy codes?

A1:

Q2:	What is the best known guideline for building by an energy code?  What is it an example of?

A2:

Q3:	What is the BEPS and who generally requires its use? What is it an example of?

A3:

Q4:	How does the BEPS vary?

A4:

Q5:	What is the overall thermal transmission value?

A5:

Q6:	What is the “thermos bottle” concept?

A6:

REVIEW:

SKETCHES- Refrigeration Cycle (3-4), Refrigeration in Buildings (3-5), Hydronis Systems (3-7),

Single Duct Constant Volume Systems & Double or Dual Duct Systems (3-9),

Multi-zone System & Fan Coil System (3-10), Variable Air Volume (3-11),

Unitary System & Heat Pump System (3-12), Induction Unit and Squirrel Cage Blower (3-13)

TABLE 3.1- Friction Loss (3-15)