LESSON FIVE: ELECTRICITY

BASIC PHYSICS:

Q1:	What are the three basic factors in electricity?

Q2:	How can water be used as an analogy?

Q3:	What is Ohm’s Law?

Q4:	What are series resistances and parallel resistances?

Q5:	What is the formula for calculating series resistances?

Q6:	What is the formula for calculating parallel resistances?

TRANSMISSION AND USAGE:

## Direct Current

Q1:	What is direct current (DC)?

Q2:	What is the equation for power in a DC circuit?

## Alternating Current

Q1:	What is alternating current (AC)?

Q2:	What is the power factor?

Q3:	How is the power factor expressed?

Q4:	What is a three-phase circuit?

Q5:	What are kilowatts and megawatts?

ELECTRICAL EQUIPMENT

Q1:	What is a motor?

Q2:	What is a generator?

Q3:	What is the basic principle behind generating electricity?

Q4:	What is the basic principle behind electric motors and electric solenoids?

Q5:	What is a solenoid?

Generation of Power

Q1:	What is a single-phase alternator?

Q2:  	What is the typical AC power frequency in the US?

Q3:	What is it in Europe?

Q4:	What is the common household voltage in the US?  In Europe?

Q5:	How is three-phase power generated?

Q6:	What happens if only one of the circuits is connected?

Transformers:

Q1:	What is a transformer?

Q2:	What does a transformer consist of?

A2:

Q3:	What are transformers used for?

Q4:	What are step up transformers and step down transformers?

Q5:	How do transformers work?

Q6:	What is the thermal rating of the transformer?

Q7:	Why should transformers be ventilated and isolated?

A7:

Transformer Connections:

Q1:	What are the primary and secondary winding?

Q2:	What is a two-wire secondary?

Q3:	What is a three-wire secondary?

Q4:	What are the two types of connections called?

Q5:	Why is the wye sometimes referred to as a ‘star’?

Q6:	What voltage system are residences limited to?

Q7:	What do larger loads (such as air conditioners, refrigerators and electric ranges) use?

Q7:	What do receptacles and light switches use?

Electric Heaters:

Q1:	How do electric heaters work?

Q2:	Why are electric heaters 100% efficient?

Q3:	Why is it inefficient to use electricity to heat a space?

Q4:	Why is it efficient though to use electric heat as a radiant heat source?

Electric Lighting:

Q1:	What is a four-way switch?

Motors:

Q1:	What types of motors are in general use?

Q2:	What is the DC motor used for?

Q3:	What is the universal motor?

Q4:	How can motors be protected from overheating?

Capacitors:

Q1:	What are capacitors used for?

Q2:	How does a capacitor work?

Receptacles:

Q1:	How should outlets be installed in residential construction?

Panelboards:

Q1:	What is a panelboard?

Q2:	How are breakers sized?

Wiring:

Q1:	What is the smallest size of electrical wiring that should be used for building wiring?

Q2:	Why has aluminum wiring for small gages (#4 or less) been discontinued?

Q3:	What is the standard for branch circuits?

Q4:	How are circuits oversized?

Conduit:

Q1:	Why is conduit used?

Q2:	How is conduit sized?

Q3:	What are the characteristics of rigid conduit?

Q4:	What is intermediate metallic conduit (IMC)?

Q5:	What is electrical metallic tubing (EMT) or thin wall?

Q6:	What is flexible metal conduit (or “flex” or Greenfield)?

Q7:	What is interlocked armored cable or BX cable?

Q8:	What is Romex?

CALCULATIONS:

Q1:	What is the allowed voltage drop due to the resistance of the wire in a given circuit?

Load Estimation:

Q1:	How can the overall electrical load in a project be estimated?

SAFETY CONSIDERATIONS:

Short Circuits:

Q1:	When does a short circuit occur?

Shutoff Devices:

Q1:	How do fuses work?

Q2:	How do circuit breakers work?

Q3:	What is a GFI or GFCI?

Grounding:

Q1:	What is grounding?

Q2:	What are the characteristics of ground wires?

SERVICES

Q1:	What is the service drop?  What does it consist of?

Meters:

Q1:	How is the electric usage in a building measured?

Q2:	What is the demand surcharge?

Emergency Power Sources:

Q1:	What is emergency power used for?

Q2:	How is backup power provided?

BUILDING AUTOMATION

Q1:	What are some examples for building controls?