LESSON TWO: COMFORT, CLIMATE AND SOLAR DESIGN

HUMAN COMFORT RANGES AND ZONES:

Q1:	What is involved in determining human comfort ranges?

Q2:	How many Btuh’s do humans generate?

Q3:	What happens when heat is not removed from a space?

Q4:	What thermal processes remove heat from a space and at what rate is it removed?

Q5:	What does the body do to limit heat loss?

Q6:	What is caused by the reduction of skin surface temperature?

Q7:	What causes people to sweat and how does it occur?

Q8:	When does heat loss stop?

Q9:	What happens when the air temperature surpasses 98.6ºF?

THE PSYCHROMETRIC CHART

Q1:	What is the psychrometric chart and what is it used for?

Q2:	What is enthalpy?

Q3:	How do you cool and dehumidify air?

Q4:	What is wet bulb temperature?  Why and how (with what) is it taken?

Q5:	What is a large wet bulb depression?

Q6:	What is a sling psychrometer?

Q7:	What is the amount of water contained by the air described as on a psychrometric chart?

Q8:	What is relative humidity?  How does it relate to comfort levels?

Q9:	What is saturation?

Q10:	When can air hold the most water?

Q11:	Where should a vapor barrier be located in a wall?  Why?

Q12:	What is the comfort range (comfort zone)?

Q13:	What does effective temperature mean?

Q14:	What effect does moving air have on the comfort zone?

SOLAR DESIGN- NEEDS FURTHER STUDY!!!

SOLAR ANGLES:

Q1:	What environmental factors must design respond to?

Q2:	At what angle is the earth tilted and what are the effects of this tilt?

Q3:	What is the declination angle and what does it tell us?

Q4A:	When is the winter and summer solstice?

Q4B:	When do the midway points occur and when are the equinoxes?

Q5:	What are the altitude angle and the azimuth angle?

Q6:	What are the altitude angle and the azimuth angle used for?

Q7:	How does the sun arc in the Northern Hemisphere when rising and setting?

Q8:	What is legislated time and sidereal time?

Q9:	What facades get the most sun-light during winter months?

Q10:	What gets the most light during summer months?

OVERHANGS:

Q1:	What windows should be protected by overhangs?

Q2:	Where and how should overhangs be located?

Q3:	What is the profile angle?

Q4:	How is the profile angle determined?

FINS:

Q1:	What facade gets the most heat in temperate and hot climates?

Q2:	What can be used as a substitute for horizontal glass (skylights) in warmer climates?

Q3:	In which direction should a saw tooth roof face in cold climates? In warm climates?

Q4:	How are vertical fins used on east and west facades?

SOLAR PLOT:

Q1:	What are the solar plot and the shadow mask?

Q2:	In a solar plot, which months have an identical path of the sun and which are unique?

Q3:	What does the shadow mask allow the designer to do?

SOLAR INTENSITIES:

Q1:	What is the solar vector?

Q2:	What is the direct normal intensity?

Q3:	How does the direct normal intensity vary?

Q4:	Why is the solar intensity lower in the morning?

Q5:	What is the symbol for solar intensity and what causes its variation?

CLIMATE:

Q1:	What is the best way to study climate?

Q2:	What are four prototypical climate zones?

COLD:

Q1:	In what area does a cold climate occur?

Q2:	Why is there a plug sticking out of the grill of cars from colder climates?

Q3:	How does relative humidity (RH) and temperature relate to one other?

Q4:	What is the due point temperature?

Q5:	What are the best building solutions for cold climates?

Q6:	Where and why should evergreen trees be planted in relation to a building?

Q7:	What is a Salt Shaker house?

Q8:	What is a vestibule used for?

TEMPERATE:

Q1:	What does temperate mean?

Q2:	What are the problems with temperate climates and how can you solve their problems?

Q3:	What are the elements that compose a temperate farm house?

HOT HUMID:

Q1:	Why are hot humid climates usually outside the comfort zone?

Q2:	What are the elements of a tropical house?

Q3:	What is thermosiphoning?

Q4:	Why are palm trees planted in tropical climates?

HOT ARID:

Q1:	What are the characteristics of hot arid climates?

Q2:	What is diurnal?

Q3:	What is the advantage of large temperature swings?

Q4:	How is water used in hot arid climates?

Q5:	What is the advantage of adobe?

Q6:	What are the characteristics of a courtyard house?

PASSIVE SOLAR DESIGN PROTOTYPES:

Q1:	What is passive solar design?

Q2:	What is a passive system?

Q3:	What is an active system?

DIRECT GAIN SPACE:

Q1:	What is a direct gain space?  Where are direct gain spaces usually located?

Q2:	What materials are usually used in direct gain spaces and why?

MASS WALL:

Q1:	What are mass walls and where are they typically located?

Q2:	What are mass walls used for?

Q3:	What are the two types of mass walls?

TROMBE WALL:

Q1:	What is a Trombe Wall?  Who is it names after?

Q2:	What is thermosiphoning?

WATER WALL:

Q1:	What is a water wall?  How does it work?

Q2:	Why is water used?

Q3:	What is the difference about the water wall in comparison to other thermal mass materials?

INDIRECT GAIN:

Q1:	What is an indirect gain space & where are they located?

Q2:	How are indirect gain spaces similar to direct gain spaces?

Q3:	How is the thermal mass heated in an indirect gain space?

Q4:	Why is it appropriate to use diffusing glass?

Q5:	How much more thermal mass does an indirect gain space need?

GREENHOUSE:

Q1:	What is a greenhouse?

Q2:	What is used in a greenhouse to redirect air?

Q3:	What happens when the room overheats?

SUPER INSULATED: What are the characteristics of a super insulated building?

DOUBLE ENVELOPE:

Q1:	What is double envelope construction?

Q2:	What occurs in the system and what causes good performance?

EARTH SHELTERED:

Q1:	What is an earth sheltered building?

Q2:	What causes the thermal benefit?

Q3:	What are the other benefits?

Q4:	What are the drawbacks?

OTHER PASSIVE TECHNIQUES:

Q1:	What is nighttime flushing?

Q2:	What makes up a roof pond?

Q3:	How do roof ponds work on a winter day and summer night?

Q4:	How does roof pond work on a winter night and summer day?

Q5:	What do the outside air conditions have to be like for a roof pond to work properly?  Why?

Q6:	Why is the water placed in black plastic bags?

Q7:	What thermal process is at work in the roof pond system?

Q8:	What is a drain down system?  How does it function?

Q9:	What is a drain back system?  How does it function?

Q10:	What is a batch system and what is it also known as?

Q11:	What is a thermosiphon system?  How does it function?

SPACE HEATING:	What is an air & rock bed system? How does the system work?

ABSORPTION & OTHER DISICCANT COOLING:

Q1:	What is a desiccant system?  What is a desiccant?

Q2:	What is an absorption refrigeration cycle?

Q3:	What is steam generation used for?

PHOTOVOLTAICS:

Q1:	What is photovoltaic conversion?  How does it function?

Q2:	When are photovoltaic conversion systems used?

Q3:	What is a synchronous inverter?

Q4:	What is the most common and inexpensive cell?  What use to be used?

WIND TURBINES:

Q1:	What wind speed is necessary for a windmill to work?

Q2:	What are the two types of wind turbines?

Q3:	What is a Savonius and what is its makeup?  What are the draw backs & benefits?

Q4:	What is a Darrieus and what is its makeup?  What are the draw backs & benefits?

Q6:	Which is the more common type of wind turbine today?

Q7:	What are the blade configurations?

Q8:	What is required to keep the blades upwind (leading)?

Q9:	What causes eccentric vibration?

COMMUNITY SYSTEMS & ZONING:

Q1:	How can communities get involved in solar energy?

Q2:	What is a power tower?

Q3:	What is Solar One and were is it located?

Q4:	What is cogeneration?

Q5:	What is a solar envelope?

REVIEW:

PSYCHROMETRIC CHART (2-4), COMFORT ZONE (2-6), SEASONS IN THE NORTHERN HEMISPHERE (2-8), SUN”S PATH (2-9), SOLAR PLOT (2-11), REGULAR SOLAR PLOT (2-12), COLD CLIMATE PLOT 92-14)

OVERHANGS (2-10), HOME FORMS (2-15 to 18), TROMBE WALL (2-20), HEAT GAIN (2-21), DOUBLE ENVELOPE (2-22), ROOF POND (2-23), TURBINES (2-28 & 29)