LESSON THREE: MECHANICAL EQUIPMENT AND MECHANICAL CODES

INTRODUCTION:

Q1:	What elements make up an HVAC system?

A1:	 The plant and distribution mechanism or system makes up the HVAC system.

Q2:	What role does the plant play in an HVAC system?

A2:	The plant creates the warm or cool water or air, usually in the mechanical room.

Q3:	What is the function of the distribution system?

A3:	The distribution system delivers the cooled or heated water or air to the different areas of the building.

Q4:	What are the different areas of a building referred to as?

A4:	The different areas of the building are referred to as zones.

BOILERS & CHILLERS:

Q1:	What parts made up plants in earlier years?

A1:	Early plants functioned primary to supply heat and consisted of a source for hot water or steam know as a boiler.  There were separate exhaust flues to vent the byproducts of the combustion from the building.

Q2:	What is external combustion air?

A2:	A more energy efficient design which uses air directly from outside for combustion rather than wasting the warmed and humidified building air.

Q3:	What is a forced air furnace and how does it operate?

A3:	The forced air furnace duplicates the boiler in residential construction.  Air from inside the home is brought through a manifold inside a larger combustion chamber.  This chamber is warmed by burning oil, natural gas or propane to heat the air inside.  The combustion air is vented through a flue.

Q4:	What is a gravity feed?

A4:	The process of convection which moves the supply air from the manifold up into the residence is called gravity feed.

Q5:	What were the disadvantages of a gravity feed when it was used?

A5:	The furnace must be located in the basement and it does not move the air fast enough.

Q6:	What modification was made to the gravity feed system to make it more efficient?

A6:	A fan was added to the system which forces the air through the system.

Q7:	What is a downdraft furnace?

A7:	 When the flow of air moved downward through the furnace (reversing the convection)

Q8:	What is a lowboy?

A8:	A furnace which is reduced in size so it wil fit in a closet or attic space.

REFRIGERATION CYCLE:

Q1:	What do modern air conditioners rely on to function?

A1:	 They rely on a refrigeration cycle.

Q2:	What is Freon and how is it used?

A2:	 A fluid made up of a family of chlorofluorocarbon or CFC gases circulated in a closed loop.  The pressure in the loop is varied using a pump and a constricted section of tubing or a valve, causing changes in temperature and evaporation and condensation.

Q3:	What is the condenser and what is its purpose?

A3:	The part of the closed loop where the pump increases the pressure of the Freon, causing it to condense, which causes the release of the latent heat of evaporation.

Q4:	What is the evaporator and what is its purpose?

A4:	When the Freon passes through an expansion valve (a constriction in the tube), a pressure drop occurs on the downstream side which allows the liquid to evaporate, absorbing the latent heat of evaporation from its surroundings.

Q5:	What is an expansion valve?

A5:	A constriction in the tube.

Q6:	What are the evaporators and condensers?

A6:	They are usually heat exchanger coils which heat or chill another fluid.

Q7:	What is an evaporative chiller?

A7:	The coil on the condenser side transfers its heat into water.  The water is then circulated through the evaporative chiller which dissipates the heat into the surrounding outside air.

Q8:	What is a cooling tower?

A8:	Another name used for the evaporative chiller, often used in larger building complexes.  Looks like a large box with louvers which emits humid air.

Q9:	What is a blowdown?

A9:	The small drain at the base of a cooling tower used to drain off dirt and minerals left behind after water evaporates.

Q10:	What happens on the evaporator side of a cycle?

A10:	The coil takes the heat from water or air which is typically brought down to 50-55 degrees and then circulated around the building.

Q11:	What can be done during cool seasons or cooler climates?

A11:	The cool outside air can be used and the refrigeration cycle can be turned off.  Cool water from a clean pond can also be used in early winter and late spring instead of chilled refrigerated water or the pond water can be used for cooling the condenser in lieu of an evaporative chiller.

Q12:	What seasonal adjustments are called economizer cycles?

A12:	Using cool outside air in lieu of the refrigeration cycle or cool water from ponds instead of refrigerated water or in lieu of a condenser.

HEAT PUMP:

Q1:	What occurs in the refrigeration cycle?

A1:	 The refrigeration cycle does not create heat or make it disappear but just moved heat around.

Q2:	What is the level of efficiency of boilers and furnaces?

A2:	 About 80%.

Q3:	What level of efficiency can be reached using a refrigeration system to heat a building?

A3:	The equivalent of 300% because it can move heat energy from the outside to the inside of the building, in addition to the energy expended.

Q4:	Why can this process not be referred to as efficiency and what would be a better reference?

A4:	Because this process does not really create energy, it is better to refer to it as the coefficient of performance (CPO).

Q5:	What is the difference between COP and EOP and how are they determined?

A5:	COP includes the heat delivered from the outside, EOP does not.

Q6:	What is the common value for COP’s?

A6:	The common value is between 2 and 3, with 2.3 being common.

Q7:	What occurs if the compressor is placed inside the building?

A7:	Most of the energy dissipated in friction, is also gained as heat for the building.

Q8:	What is the danger of Freon (or and CFC) leaking into the atmosphere?

A8:	CFC destroys ozone at high altitudes.

Q9:	What is being studied as a substitute for CFC’s?

A9:	Hydrofluorocarbons or HFC’s

SYSTEM DISTRIBUTION TYPES:

Q1:	What is one difference between distribution systems and plant systems?

A1: 	There are more variations in plant systems than in distribution systems.

Q2:	What are the three basic categories for distribution systems?

A2:	 Electrical, hydronic and forced air.

ELECTRICAL SYSTEMS:

Q1:	What are the characteristics of an electrical distribution system and where are they located?

A1: 	They are the simplest and lowest in cost but the most expensive in life cycle costs.  They are only used in very mild climates where the system is off most of the time.

Q2:	What are the categories of electrical systems and what do they consist of?

A2:	Radiant systems which consist of radiant panels or wires embedded in the ceiling and baseboards which heat up and cause convective air circulation in a room.

Q3:	What are the advantages and disadvantages of a radiant system?

A3:	 The system only needs to be turned on n the rooms which are currently occupied and only objects such as people are heated, not the air.   However, sice electricity is often generated from combustion at low efficiency, it is wasteful and an expensive way to use energy.

HYDRONIC SYSTEMS:

Q1:	What is a hydronic system?

A1: 	Many are also radiant systems in which hot water or steam is circulated through registers or pipes embedded in the floor, which then radiate heat into the space.  They are often combined with forced air systems.

Q2:	What are the loop patterns of the system?

A2:	Loop patterns are the piping patterns of a hydronic system, and are single, two pipe, four pipe or three pipe systems.

Q3:	What are the characteristics of a single pipe loop pattern?

A3:	It is a single supply and return pipe where the water is circulated through each register and back to the pipe.  The system has a low first cost but is limited in its distance since the water gets cooler at each successive register.

Q4:	What are the characteristics of a two pipe loop pattern?

A4:	Also known as a parallel system which used separate supply and return pipes.

Q5:	What are the characteristics of a four pipe loop pattern?

A5:

Q6:	What are the characteristics of a three pipe loop pattern?

A6:

FORCED AIR SYSTEMS:

Q1:	How is heat distributed in a forced air system?

A1:

Q2:	What is an air plenum?

A2:

Q3:	What are the characteristics of supply ducts in a system that utilizes air plenums?

A3:

Q4:	Why is a cold air register called by its name?

A4:

Q5:	What kind of air is brought into a plant?

A5:

Q6:	Where should a fresh air intake be located?

A6:

Q7:	 What must be done to outside air?  Return air?

A7:

Q8:	How is the number of air changes determined?

A8:

Q9:	What is the pressure in a duct referred to as?

A9:

Q10:	How do you eliminate infiltration in a building?

A10:

Q11:	What is the deck temperature?

A11:

Q12:	What prevents air moving in a supply duct from warming up before it reaches the room?

A12:

Q13:	How is insulation used in supply ducts?

A13:

Q14:	Where and why must fans be insulated?

A14:

Q15:	How are fans insulated?

A15:

Q16:	What are duct connects made of and why?

A16:

Q17:	What is the simplest forced air system and where are they found?

A17:

Q18:	What is constant volume?

A18:

Q19:	How can the rate of heating be varied from room to room in a structure with central AC?

A19:

Q20:	What causes problems in this type of system?

A20:

Q21:	What is the electric reheat system and what are the characteristics?  Where and why is it used?

A21:

Q22:	What is a dual duct or double duct system and why is it used?

A22:

Q23:	What is a mixing box?

A23:

Q24:	What is the multi-zone system?

A24:

Q25:	Why was the multi-zone system developed

A25:

Q26:	When and why is the multi-zone system efficient?

A26:

Q27:	What is a fan coil system?

A27:

Q28:	What are the advantages and disadvantages of the fan coil system?

A28:

Q29:	What is a variable air volume system?

A29:

Q30:	What determines the amount of heating and/or cooling delivered to a zone?

A30:

Q31:	What occurs to make a zone system run at high efficiency?

A31:

Q32:	What is a unitary system?

A32:

Q33:	When is a unitary system employed?

A33:

Q34:	What is a heat pump system?

A34:

Q35:	What is a heat sink?

A35:

Q36:	What happens if all of the heat pumps are cooling their rooms?

A36:

Q37:	What happens if all of the heat pumps are heating their rooms?

A37:

Q38:	What kind of system does induction apply to?

A38:

Q39:	Name some types of fans and cases when they are used.

A39:

Q40:	What are fibrous filters?

A41:

Q42:	What are the characteristics of electrostatic filters?

A42:

Q43:	 What are the characteristics of activated charcoal filters?

A43:

PLANT AND DUCT SIZING:

Q1:	What two things must architects know when designing a building in relation to the mechanical room & equipment?

A1:

PLANT SIZING:

Q1:	What is the typical floor space needed for mechanical equipment?  How does it vary?

A1:

Q2:	Where are mechanical rooms located in high-rise building?

A2:

Q3:	What is the capacity of the plant dependent on?

A3:

Q4:	How are heating loads expressed?  Cooling loads?

A4:

Q5:	What is a ton of cooling equivalent to and what is the rate of heat transfer?

A5:

SYSTEM SIZING:

Q1:	What system requires the most space?

A1:

Q2:	What are the relationships in a forced air system?

A2:

Q3:	What is the formula to express the relationships in a force air system?

A3:

DUCT SIZING:

Q1:	How is a duct sized?

A1:

Q2:	What are appropriate velocities for ducts?

A2:

Q3:	What kind of ducts and ventilation systems are used in some large office buildings?

A3:

Q4:	How are duct sizes expressed?

A4:

Q5:	Which are the most efficient ducts?  Why?

A5:

Q6:	What is the equivalent circular diameter?

A6:

FAN SIZING:

Q1:	What is another factor that must be taken into consideration when sizing ducts?

A1:

Q2:	How are duct sizes often determined?

A2:

Q3:	How is friction loss expressed?

A3:

Q4:	What is static head?

A4:

Q5:	Normal atmospheric pressure can support how much water?

A5:

ENERGY CODES:

Q1:	What are the two basic types of energy codes?

A1:

Q2:	What is the best known guideline for building by an energy code?  What is it an example of?

A2:

Q3:	What is the BEPS and who generally requires its use? What is it an example of?

A3:

Q4:	How does the BEPS vary?

A4:

Q5:	What is the overall thermal transmission value?

A5:

Q6:	What is the “thermos bottle” concept?

A6:

REVIEW:

SKETCHES- Refrigeration Cycle (3-4), Refrigeration in Buildings (3-5), Hydronis Systems (3-7),

Single Duct Constant Volume Systems & Double or Dual Duct Systems (3-9),

Multi-zone System & Fan Coil System (3-10), Variable Air Volume (3-11),

Unitary System & Heat Pump System (3-12), Induction Unit and Squirrel Cage Blower (3-13)

TABLE 3.1- Friction Loss (3-15)